## Sheet1
Sl No | Section | Monthly Report | 2017-11-01 | 2017-12-01 | 2018-01-01 | Cumulative | Monthly Energy Savings in MUs | Remarks
[6 empty] | 04.06.2017 to 10.06.2017 | 04.06.2017 to 10.06.2017
1 | Demand Side Management | SRTPV Progress | 76 nos. 0.94 MWp | 34 nos. 23.68 MWp | 22 nos. 4.06 MWp | 1210 nos. 91.91 MWp | -
2 |  | LED Bulb sales status | 245956 | 236852 | 200028 | 682836 | 11.067 | Assessment of energy savings: Considering 23.4W savings per LED, 60% usage in 82% days for 3.5hours per day.
3 |  | LED tube light sales status | 12397 | 9385 | 31082 | 52864 | 0.028 | Assessment of energy savings: Considering 32W savings per LED, 60% usage in 82% days for 4hours per day.
4 |  | Energy Efficient Fan sales status | 3383 | 2174 | 1168 | 6725 | 0.003 | Assessment of energy savings: Considering 25W savings per LED, 60% usage in 82% days for 5.5hours per day.
5 |  | Fortnightly Report (Last working day of alternative weeks)
6 |  | Surya Raitha pilot project |  |  |  | 4
7 |  | SRTPV Tender Status |  |  |  | -
5 |  | Surya Raitha pilot project | 0 | 0 | 0 | #REF! | 1.33 | Total energy generated as on Dec-17 (Solar meter)